April 10, 2002

Ms Cynthia Obier

State of Louisiana

Department of Public Safety and Corrections

Office of State Fire Marshal Code Enforcement

 And Building Safety.

5150 Florida Blvd.

Baton Rouge, Louisiana 70806

RE: Camellia Gardens

        P0233508

Dear Ms. Obier

Per our telephone conversation on 4-9-02 we are asking for an appeal on the Fire Rated windows.

Bldg. #5 was originally designed for fire rated windows in the corridors to all units and also to the exercise room and dining room. The owner would like to remove the rated windows in the corridors and just have wood frame windows in the exercise room and dining room. We will install sprinklers over these windows as we are in all corridors. Attached is a partial sketch of that area showing the exercise room and dining room.

Please call me with any questions that you may have.

Thank you,

Chuck Dammon

