Access Control

University of Southern Mississippi

Criminal Justice Renovation

First Floor Data/Comm Room 134

1 each 	HID Controller X1100

4 each 	HID Door Controller X100A

1 each 	HID Door Monitor X200A (Doors 012 & 013a)

2 each	Altronix Power Supply AL600ULXPD16

First Floor: Home Run Back to Room 134

Door:	001

1 each 	HID Readers 922NTNNEK00000							Detail A

1 each		Camden Rely 10BR3

Supplied and installed by others and to be terminated above ceiling to junction box:

McKinney Hinge T4A3386QC12 4 ½ X 4 ½

Sargent Vertical Rod Exit LC43 55 56 8710 306

Besam Auto Oper. SW2001

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C3000P

Securitron Power Supply AQD2

Securitron Door Position Switch DPS-M-WH

Door: 	003

1 each 	HID Readers 922NTNNEK00000					Detail D

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others and to be terminated above ceiling to junction box:

McKinney Hinge T4A3386QC12 4 ½ X 4 ½

Sargent Rim Exit LC43 55 56 8804

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C3000P

Securitron Power Supply AQD2

Securitron Door Position Switch DPS-M-WH

Door:	012

013a

2 each		Camden Motion Sensor CMRQE70A						Detail C

Supplied and installed by others and to be terminated above ceiling to junction box:

Securitron Door Position Switch DPS-W-BK

Access Control

First Floor:

Door:	100

1 each 	HID Readers 922NTNNEK00000							Detail A

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others and to be terminated above ceiling to junction box:

McKinney Hinge T4A3386QC12 4 ½ X 4 ½

Sargent Vertical Rod Exit LC43 55 56 8710 306

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C3000P

Securitron Power Supply AQD2

Securitron Door Position Switch DPS-M-WH

Door:	101

1 each 	HID Readers 922NTNNEK000000							Detail F

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others and to be terminated above ceiling to junction box:

McKinney Hinge TA2714 QC8 4 ½ X 4 ½

Sargent Fail Secure Lock ML20906 SEC PSM M92

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C3000P

Securitron Power Supply AQD2

Securitron Door Position Switch DPS-M-WH

Door:	130

1 each 	HID Readers 922NTNNEK00000							Detail E

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others and to be terminated above ceiling to junction box:

McKinney Hinge TA2714 QC8 4 ½ X 4 ½

Sargent Fail Secure Lock ML20906 SEC PSM M92

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C3000P

Securitron Power Supply AQD2

Securitron Door Position Switch DPS-M-WH

Access Control

Door: 131

1 each 	HID Readers 922NTNNEK00000							Detail E

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others and to be terminated above ceiling to junction box:

McKinney Hinge TA2714 QC8 4 ½ X 4 ½

Sargent Fail Secure Lock ML20906 SEC PSM M92

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C3000P

Securitron Power Supply AQD2

Securitron Door Position Switch DPS-M-WH

Access Control

Comm Room 148 Mock Courtroom

1 each 	HID Controller X1100

2 each 	HID Door Controller X100A

2 each	Altronix Power Supply AL600ULXPD16

Mock Courtroom: Home Run Back to Room 148

Door:	013b

1 each 	HID Readers 922NTNNEK00000							Detail D

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others and to be terminated above ceiling to junction box:

Pemko Hinge CFM108SLF HD1 SER12

Sargent Rim Exit LC43 55 56 8504

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C3000P

Securitron Power Supply AQD2

Securitron Door Position Switch DPS-M-WH

Door: 142a

1 each 	HID Readers 922NTNNEK00000							Detail B

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others and to be terminated above ceiling to junction box:

Pemko Hinge CFM108SLF HD1 SER12

Sargent Vertical Rod Exit LC43 55 56 8710 306

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C3000P

Securitron Power Supply AQD2

Securitron Door Position Switch DPS-M-WH

Door: 142b

1 each 	HID Readers 922NTNNEK00000B							Detail B

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others and to be terminated above ceiling to junction box:

Pemko Hinge CFM108SLF HD1 SER12

Sargent Vertical Rod Exit LC43 55 56 8710 306

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C3000P

Securitron Power Supply AQD2

Securitron Door Position Switch DPS-M-WH

Second Floor

Second Floor: Home Run Back to Room 220

1 each 	HID Controller X1100

2 each 	HID Door Controller X100A

2 each	Altronix Power Supply AL600ULXPD16

Door 202

1 each 	HID Readers 922NTNNEK00000							Detail G

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others and to be terminated above ceiling to junction box:

HES Electric Strike 1500C

HES Smart Pak 2005M3

Securitron Power Supply AQD2

Door 204

1 each 	HID Readers 922NTNNEK00000							Detail G

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others and to be terminated above ceiling to junction box:

HES Electric Strike 1500C

HES Smart Pak 2005M3

Securitron Power Supply AQD2

Door:	218

1 each 	HID Readers 922NTNNEK00000							Detail E

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others and to be terminated above ceiling to junction box:

McKinney Hinge TA2714 QC8 4 ½ X 4 ½

Sargent Fail Secure Lock ML20906 SEC PSM M92

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C3000P

Securitron Power Supply AQD2

Securitron Door Position Switch DPS-M-WH