554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

August 15, 2016

Attn: Mr. Ric Le Grange

Department of Culture, Recreation & Tourism

Office of State Parks

P. O. Box 44426

Baton Rouge, LA  70804-4426

Re:   Tickfaw State Park – Shower Repair

File Number: 1000098482

Dear Ric:

Please be advised that I inspected the temporary portable shower unit at Dapco’s Office and outline the following:

- Electrical work is in accordance with the National Electrical Code.

- Plumbing is in accordance with the National Plumbing Code.

- HVAC system is in accordance with National HVAC Code.

- Shower meets ADA standards and accessibility requirements.

If you have any questions, or require additional information, please feel free to call.

Sincerely,

Brian Mistich, P.E.

Dammon Engineering, Inc.

Bill Kingsmill’s contact information is as follows:

William Kingsmill (kingsmillprop@bellsouth.net)

Cell: (504) 528 3838

1200 Business Highway 190, Suite 13

Covington, LA 70433

Lawrence Wm. Haik, Sr

Republic Commercial Properties, LLC

1539 Royal Palm Dr.

Slidell, LA 70458

(985) 960-7033