554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

November 10, 2025

Jared Hingle

St. Tammany Parish Department of Permits

21454 Koop Drive

Building B

Mandeville, Louisiana70471

Re:

Tim Troia

108 Sir Barton Court

`	Bush, La. 70431

Dear Mr. Hingle,

In lieu of the #3 deformed stirrups the contractor will install W.W.M. for the stirrups at 5’ to 6’.

Sincerely,

Brian A Mistich, P.E.

La. License No.  0030187