ST. TAMMANY FIRE PROTECTION DISTRICT NO. 1
NEW TRAINING FACILITY
34780 S. RANGE ROAD 

SLIDELL LA  70460


Owens-Corning

Commercial Insulation

ProSpec

Welcome to Owens-Corning's digitized Commercial Insulation Specifications.  ProSpec provides editable insulation specifications for a wide range of interior partition, exterior wall and roof/ceiling assembly applications.

ProSpec includes directions for the specification writer and product data that can be easily selected for insertion in your project specifications.

Directions for the specification writer and product data boxes are eliminated by turning the toggle off. (Tools, Option, Hidden Text) Turning the toggle on restores the on screen directions and product data.
To add product data from these product data boxes, choose text and insert in the specification text.

If you have questions regarding our products, applications or installation please call us at 1-800-GET-PINK.

Section 072000
Interior Partition Acoustical Insulation

Part 1 
General

1.01 
Summary


A.
Provide glass fiber acoustical insulation for interior partitions 



as indicated in building plans.

1.02

References


A.
American Society for Testing and Materials (ASTM).



1.
C 665 Specification for Mineral Fiber Blanket Thermal 



Insulation for Light Frame Construction and Manufactured 



Housing.



2.
E 84 Test Method for Surface Burning Characteristics of 




Building Materials.



3.
E 136 Test Method for Behavior of Materials in a Vertical 




Tube Furnace at 750(C.



4.
C 518 Test Method for Steady‑State Thermal Transmission 




Properties by Means of the Heat Flow Meter.

5. C423 Test Method for Sound Absorption Coefficient by the 


Reverberation Room Method

1.03

Submittals


A.
Product Data: Submit Owens‑Corning product literature, samples 



and installation instructions for specified insulation.

1.04

Delivery, Storage and Handling


A.
Protect insulation from physical damage and from becoming wet, 



soiled, or covered with ice or snow. Comply with manufacturer's 



recommendations for handling, storage and protection during 



installation.


B.
Label insulation packages to include material name, 

production date and/or product code.
Delete paragraph below if section 01600 or 01620 are not included 
in project manual.

C.
Deliver and store materials under provision of Section1700.

1.05

Limitations


A.
Do not use unfaced insulation in exposed applications where there 



is potential for skin contact and irritation.


B.
Kraft and standard foil facings will burn and must not be left 



exposed. The facing must be installed in substantial contact with 



the unexposed surface of the ceiling, wall or floor finish.  Protect facing 



from any open flame or heat source.

Part 2 
Products

2.01
  Manufacturer


A.
Owens‑Corning.


B. Or Approved Manufacturer

2.02

Sound Attenuation Batts


A.
Type: Unfaced glass fiber acoustical insulation complying with 



ASTM C 665,  Type I.


B.
Size:


Thickness 3” Width 


Thickness

        Width

  Length



3½"    89mm
   16"  406mm     24"  609mm    
 96"  2438mm



2½"    64mm
   16"  406mm     24"  609mm     
 96"  2438mm 


C.
Surface Burning Characteristics:  



1.
Maximum flame spread: 10



2.
Maximum smoke developed: 10

When tested in accordance with ASTM E 84.


D.
Combustion Characteristics:  



Passes ASTM E 136.


E.
Fire Resistance Ratings:



Passes ASTM E 119 as part of a complete fire tested



wall assembly.


G.
Dimensional Stability:



Linear Shrinkage less than 0.1%

Part 3
Execution

3.01

Inspection and Preparation


A.
Examine substrates and conditions under which insulation work is 



to be performed.  A satisfactory substrate is one that complies with 



requirements  of the section in which substrate and related work is specified.


B.
Verify mechanical and electrical services within the shaftwall have been tested and inspected.


B.
Obtain installer's written report listing conditions detrimental to 



performance of work in this section. Do not proceed with installation 



of insulation until unsatisfactory conditions have been corrected.


C.
Clean substrates of substances harmful to insulation.

3.02

Installation ‑ General


A.
Comply with manufacturer's instructions for particular conditions 



of installation in each case.


B.
Batts may be friction‑fit in place until the interior finish is applied. 



Install batts to fill entire stud cavity. If stud cavity is less than 96" 



in height, cut lengths to friction‑fit against floor and ceiling tracks. 



Walls with penetrations require that insulation be carefully cut to fit 



around outlets, junction boxes and other irregularities.


C.
Where walls are not finished on both sides or insulation does not 



fill the cavity depth, supplementary support must be provided to 



hold product in place.


D.
Where insulation must extend higher than 8 feet, temporary support 



can be provided to hold product in place until the finish material is applied.

3.03

Gypsum Board Installation  


A.
Refer to Relevant Sections and Manufacturer’s Recommendations for proper installation of gypsum board. 

3.04

Protection


A.
Protect installed insulation as recommended by manufacturer. 

END OF SECTION 072000 
INTERIOR PARTITION ACOUSITICAL INSULATION
072000 - 4

