Re: Hwy 59 Barn

Dear Mr. Pumilla

David Koppenol the St. Tammany Parish inspector for the above referenced job noted that the fuel shed, and the main bldg. area was mucked out to three feet into existing earth and loose dirt was being put back in to get it back to the original of 24” muck out. 

This is not acceptable. All loose dirt that was thrown back in must be removed prior to installing new fill for compaction. Please call me so we can discuss this problem.

Cc: David Koppenol







