                                      Addendum #1

                                  Construct 59 Barn

To: All Holders of Project Plans

RE: 59 Barn

The following changes are made to the contract drawings and specifications.

1. Seal the entire service area with an epoxy sealant.

2. The kitchen sink shall be a two-compartment stainless steel sink.

3. The water heater shall be an electrical 40-gal water heater.

4. All floor drains shall have trap primers.

5. All hose bibs shall be freeze proof.

6. The shower shall be a 36”x36” fiberglass installation.

7. All water lines for the maintenance bldg. shall be installed under foundation.

8. Fuel shed lights, HPS light fixtures shall be three 100 watt pendant mount.

9. Pump house lights shall be designated as FL2.

10. The contractor shall install a 2000 GPD chlorinated treatment plant w/effluent reduction system.

11. The exterior of the maintenance bldg. shall be R panel.

12. The stairs shall be of steel construction. Shop primed and two coats of paint in the field.

13. All piping shall be purchased by the contractor and connected to all equipment.

14.  Contract time shall be 120 days.

15. Add two air hose reels to the specifications. 

16. Add two hose reels for the 275 gal fresh oil tanks to the DWG’s.







