Partition of community property.

Repairs needed to 124 Eden Isles Drive 

Exterior:

Reinstall electrical wiring where hot tub was replaced.

Replace approx 26’ of rotten siding, and paint

Replace rotten wood (trim) around front and rear windows, doors, and paint.

Approx. 32’

Replace damaged shingles on roof, approx. 6 squares.

Repair cracks in driveway Typ. three areas. Approx. 48’

Repair rotten dock board hangers, install new joist hangers. Approx. 12

Level the shed, from where it is has settled. Approx. 1-1/2”

Replace rusted roof panels on shed.

Level the rear wood porch from where it has settled. Approx. 1”

50’x 10’

Install new fill under rear porch were the land has settled.

Replace exterior condenser, has major rust.

Replace rotten OSB roofing above the deck. Approx. three places.

Rescuer chimney.

Interior:

Repair damaged wall in hallway.

Replace damaged vanity in hall bathroom.

Reinstall new wallpaper in hall bathroom.

Replace damaged wood and sheet rock from termites in front bedroom wall. Approx 8’

Replace damaged wallpaper in master bathroom.

Replace front bedroom door.

Replace light fixture in two front bedrooms 

Replace damaged carpet in living room.

Repaint ceiling in hallway, master bedroom and dining room from water damage.

Replace vinyl squares in kitchen that are coming up.

Replace cabinets in kitchen where the laminate is coming off.

Replace the dishwasher. No heat.

Install new 3/0x6/8 utility door.

Paint garage.

