Access Control

North Oaks COB II 	9/6/2024

First Floor Data Room 1013

1 each 	HID Controller X1100

12 each 	HID Door Controller X100A

4 each	Altronix Power Supply AL600ULXPD16

Elevator Controller

1 each 	HID Elevator Controller X300A

1 each	Altronix Power Supply AL600ULXPD16

ELR	Electric Latch Retractor

Trim	Electric Trim

Access Control

North Oaks COB II 	9/6/2024

First Floor:

A	Door:	1000.2A

1007 (F)

1013

1101B

1102

1202B

1222A

7 each 	HID Readers 920PTNNEK00000

7 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

HES Electric Strikes 1006C

McKinney Wiring Harness QC-C1500P

Securitron Power Supply AQD1

Securitron Door Position Switch DPS-W-BK

B	Door: 	1005A

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

Markar Continuous Hinge HG-305 7'0" EL-12
Corbin Russwin Exit ED5800AxTH957ET CT7D M92 MERL (ELR)

McKinney Wiring Harness QC-C1500P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

C	Door:	1005C

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

Markar Continuous Hinge HG-305 7'0" EL-12
Corbin Russwin Exit ED5200A x L9905ET CT7D (Trim)

McKinney Wiring Harness QC-C1500P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

Access Control

North Oaks COB II 	9/6/2024

First Floor:

D	Door:	1014A

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

Markar Continuous Hinge HG-305 7'0" EL-12
Corbin Russwin Exit ED5200 xTH957ET CT7D M92 MERL (ELR)

McKinney Wiring Harness QC-C1500P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

First Floor:

E	Door:	1006A

1006B

1105A

1105B

4 each 	HID Readers 920PTNNEK00000

4 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

HES Electric Strikes 1006CLB

McKinney Wiring Harness QC-C1500P

Securitron Power Supply AQD1

Securitron Door Position Switch DPS-W-BK

F	Door:	1000A

1000B

1001A

3 each 	HID Readers 920PTNNEK00000

3 each 	Camden Relays 10BR3

All Doors, ADA Closers, Closers, installed and supplied by others

Access Control

North Oaks COB II 	9/6/2024

First Floor:

G	Door:	1000C

1202A

2 each 	HID Readers 920PTNNEK00000

2 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

Rixon Pivot EM19 8 Wire QC-8
Corbin Russwin Exit ED5200 CT7D K157M92 MERL W048 (ELR)

McKinney Wiring Harness QC-C1500P

`		McKinney Wiring Harness QC-C006P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

H 	Door: 1009

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

Markar Continuous Hinge HG-305 7'0" 
HES Electric Strikes 1006CLB

HES Smart Pac III 2005M3

McKinney Wiring Harness QC-C1500P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

J 	Door:	ST2-1A

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

Markar Continuous Hinge HG-305 7'0" EL-12
Corbin Russwin Exit ED5200 xTH957ET CT7D M92 MERL (ELR)

McKinney Wiring Harness QC-C1500P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

Access Control

North Oaks COB II 	9/6/2024

First Floor:

K 	Elevator:	ELEV 1-1

ELEV 2-1

3 each 	HID Readers 920PTNNEK00000

Access Control

North Oaks COB II 	9/6/2024

Second Floor Data Room 2007

1 each 	HID Controller X1100

7 each 	HID Door Controller X100A

2 each	Altronix Power Supply AL600ULXPD16

Access Control

North Oaks COB II 	9/6/2024

Second Floor:

A	Door:	2005

2006

2007

2101

2110

2111

2149

2160

8 each 	HID Readers 920PTNNEK00000

8 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

HES Electric Strikes 1006CLB

McKinney Wiring Harness QC-C1500P

Securitron Power Supply AQD1

Securitron Door Position Switch DPS-W-BK

P	Door:	2100

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

Markar Continuous Hinge HG-305 7'0" EL-12
Corbin Russwin Exit ED5200A x L9905ET CT7D (Trim)

McKinney Wiring Harness QC-C1500P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

A	Door: 	2100A

2100B

2 each 	HID Readers 920PTNNEK00000

2 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

HES Electric Strikes 1006CLB)

McKinney Wiring Harness QC-C1500P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

Access Control

North Oaks COB II 	9/6/2024

Second Floor:

L	Door:	2112

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

McKinney Electric Hinge T4A3786 4 ½ x 4 ½ QC8

Corbin Russwin Exit ED5200A x L9905ET CT7D (Trim)

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C006P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

M	Door: ST2-2

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

McKinney Electric Hinge T4A3786 4 ½ x 4 ½ QC8

Corbin Russwin Exit ED5200A x L9903ET M92 (Trim)

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C006P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

Access Control

North Oaks COB II 	9/6/2024

Second Floor Data Room 3008

1 each 	HID Controller X1100

7 each 	HID Door Controller X100A

2 each	Altronix Power Supply AL600ULXPD16

Access Control

North Oaks COB II 	9/6/2024

Third Floor:

A	Door:	3005

3006

3007

3008

3010

3017

3018

3311

8 each 	HID Readers 920PTNNEK00000

8 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

HES Electric Strikes 1006CLB)

McKinney Wiring Harness QC-C1500P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

N	Door:	3000B

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

Markar Continuous Hinge HG-305 7'0" EL-12
Corbin Russwin Exit ED5200A x L9905ET CT7D (Trim)

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C006P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

Access Control

North Oaks COB II 	9/6/2024

Third Floor:

L  	Door:	3016

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

McKinney Electric Hinge T4A3786 4 ½ x 4 ½ QC8

Corbin Russwin Exit ED5200A x L9905ET CT7D (Trim)

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C006P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

A  	Door: 	3001A

3001B

2 each 	HID Readers 920PTNNEK00000

2 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

HES Electric Strikes 1006CLB)

McKinney Wiring Harness QC-C1500P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

M  	Door: ST2-3

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

McKinney Electric Hinge T4A3786 4 ½ x 4 ½ QC8

Corbin Russwin Exit ED5200A x L9903ET M92 (Trim)

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C006P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

Access Control

North Oaks COB II 	9/6/2024

Second Floor Data Room 4008

1 each 	HID Controller X1100

7 each 	HID Door Controller X100A

2 each	Altronix Power Supply AL600ULXPD16

Access Control

North Oaks COB II 	9/6/2024

Fourth Floor:

A	Door:	4005

4006

4007

4008

4010

4018

4019

7 each 	HID Readers 920PTNNEK00000

7 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

HES Electric Strikes 1006CLB)

McKinney Wiring Harness QC-C1500P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

N 	Door:	4000B

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

Markar Continuous Hinge HG-305 7'0" EL-12
Corbin Russwin Exit ED5200A x L9905ET CT7D (Trim)

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C006P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

A  	Door: 	4001A

4001B

2 each 	HID Readers 920PTNNEK00000

2 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

HES Electric Strikes 1006CLB)

McKinney Wiring Harness QC-C1500P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

Access Control

North Oaks COB II 	9/6/2024

Fourth Floor:

L  	Door:	4017

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

McKinney Electric Hinge T4A3786 4 ½ x 4 ½ QC8

Corbin Russwin Exit ED5200A x L9905ET CT7D (Trim)

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C006P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

M  	Door: ST2-4

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

McKinney Electric Hinge T4A3786 4 ½ x 4 ½ QC8

Corbin Russwin Exit ED5200A x L9903ET M92 (Trim)

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C006P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

K  	Elevator:	ELEV 2-4

1 each 	HID Readers 920PTNNEK00000

Access Control

North Oaks COB II 	9/6/2024

Second Floor Data Room 5013

1 each 	HID Controller X1100

8 each 	HID Door Controller X100A

3 each	Altronix Power Supply AL600ULXPD16

Access Control

North Oaks COB II 	9/6/2024

Fifth Floor:

G	Door:	5001A

5100

2 each 	HID Readers 920PTNNEK00000

2 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

Rixon Pivot EM19 8 Wire QC-8
Corbin Russwin Exit ED5200 CT7D K157M92 MERL W048 (ELR)

McKinney Wiring Harness QC-C1500P

`		McKinney Wiring Harness QC-C006P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

A  	Door:	5002A

5006

5013

5105

5116

5117A

5117B

5210

5300

5305

5304

5306

12 each 	HID Readers 920PTNNEK00000

12 each	Camden Motion Sensor CMRQE70A

Supplied and installed by others:

HES Electric Strikes 1006CLB)

McKinney Wiring Harness QC-C1500P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

Access Control

North Oaks COB II 	9/6/2024

Fifth Floor:

N  	Door:	5001B

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

Markar Continuous Hinge HG-305 7'0" EL-12
Corbin Russwin Exit ED5200A x L9905ET CT7D (Trim)

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C006P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

M  	Door: ST2-5

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

McKinney Electric Hinge T4A3786 4 ½ x 4 ½ QC8

Corbin Russwin Exit ED5200A x L9903ET M92 (Trim)

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C006P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1