Access Control

North Oaks COB II 	9/6/2024

First Floor Data Room 1013

1 each 	HID Controller X1100

12 each 	HID Door Controller X100A

4 each	Altronix Power Supply AL600ULXPD16

Elevator Controller

1 each 	HID Elevator Controller X300A

1 each	Altronix Power Supply AL600ULXPD16

ELR	Electric Latch Retractor

Trim	Electric Trim

Access Control

North Oaks COB II 	9/6/2024

First Floor:

A	Door:	1000.2A		12.01		3070 WD x MF

1007 (F)		12.0		3070 WD x MF

1013			*12.0A		3070 MD x MF

1101B			12.0		3070 WD x MF

1102			12.0		3070 WD x MF

1202B			12.0		3070 WD x MF

1222A			12.0		3070 WD x MF

7 each 	HID Readers 920PTNNEK00000

7 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

HES Electric Strikes 1006C

McKinney Wiring Harness QC-C1500P					A

Securitron Power Supply AQD1

Securitron Door Position Switch DPS-W-BK

B	Door: 	1005A			1.0		(Pair) 2 each 3070 	MD x MF

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

Markar Continuous Hinge HG-305 7'0" EL-12
Corbin Russwin Exit ED5800AxTH957ET CT7D M92 MERL (ELR)		B

McKinney Wiring Harness QC-C1500P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

C	Door:	1005C			9.01		3670 WD x MF

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

Markar Continuous Hinge HG-305 7'0" EL-12
Corbin Russwin Exit ED5200A x L9905ET CT7D (Trim)			C

McKinney Wiring Harness QC-C1500P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

Access Control

North Oaks COB II 	9/6/2024

First Floor:

D 		Door:	1014A		2.0			3070 MD x MF

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

Markar Continuous Hinge HG-305 7'0" EL-12
Corbin Russwin Exit ED5200 xTH957ET CT7D M92 MERL (ELR)		B

McKinney Wiring Harness QC-C1500P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

First Floor:

A	Door:	1006A		15.0			3670  WD x MF

1006B		15.0			3670  WD x MF

1105A		*14.0			3670  MD x MF

1105B		*14.0			3670  MD x MF

4 each 	HID Readers 920PTNNEK00000

4 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

HES Electric Strikes 1006CLB

McKinney Wiring Harness QC-C1500P					A

Securitron Power Supply AQD1

Securitron Door Position Switch DPS-W-BK

E	Door:	1000A		34.0	11’3” x 10’0” Storefront

1000B		34.0	11’3” x 10’0” Storefront

1001A		34.0	11’3” x 10’0” Storefront

3 each 	HID Readers 920PTNNEK00000

3 each 	Camden Relays 10BR3

All Doors, ADA Closers, Closers, installed and supplied by others

Access Control

North Oaks COB II 	9/6/2024

First Floor:

F 	Door:	1000C		7.0		3680 Storefront

1202A		7.0		3680 Storefront

2 each 	HID Readers 920PTNNEK00000

2 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

Rixson Pivot EM19 8 Wire QC-8
Corbin Russwin Exit ED5200 CT7D K157M92 MERL W048 (ELR)		D

McKinney Wiring Harness QC-C1500P

`		McKinney Wiring Harness QC-C006P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

G 	Door: 1009		5.0		3070 MD x MF

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

Markar Continuous Hinge HG-305 7'0" 
HES Electric Strikes 1006CL							E

HES Smart Pac III 2005M3

McKinney Wiring Harness QC-C1500P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

D  	Door:	ST2-1A		2.0		3070  MD x MF

1 each 	HID Readers 920PTNNEK00000``

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

Markar Continuous Hinge HG-305 7'0" EL-12
Corbin Russwin Exit ED5200 xTH957ET CT7D M92 MERL (ELR)		B

McKinney Wiring Harness QC-C1500P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

Access Control

North Oaks COB II 	9/6/2024

First Floor:

H 	Elevator:	ELEV 1-1

ELEV 2-1

3 each 	HID Readers 920PTNNEK00000

Access Control

North Oaks COB II 	9/6/2024

Second Floor Data Room 2007

1 each 	HID Controller X1100

7 each 	HID Door Controller X100A

2 each	Altronix Power Supply AL600ULXPD16

Access Control

North Oaks COB II 	9/6/2024

Second Floor:

A	Door:	2005		15.0		3670  WD x MF

2006		14.0		3670  MD x MF

2007		12.0		3070 WD x MF

2101		15.0		3670  WD x MF

2110		15.0		3670  WD x MF

2111		15.0		3670  WD x MF

2149		12.0		3070 WD x MF

2160		15.0		3670  WD x MF

8 each 	HID Readers 920PTNNEK00000

8 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

HES Electric Strikes 1006CLB

McKinney Wiring Harness QC-C1500P					A

Securitron Power Supply AQD1

Securitron Door Position Switch DPS-W-BK

C	Door:	2100		9.0		3670 WD x MF

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

Markar Continuous Hinge HG-305 7'0" EL-12
Corbin Russwin Exit ED5200A x L9905ET CT7D (Trim)			C

McKinney Wiring Harness QC-C1500P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

A	Door: 	2100A		11.0		3670 Storefront

2100B		11.0		3670 Storefront

2 each 	HID Readers 920PTNNEK00000

2 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

HES Electric Strikes 1006CLB)

McKinney Wiring Harness QC-C1500P					A

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

Access Control

North Oaks COB II 	9/6/2024

Second Floor:

C	Door:	2112		32.0		3070  WD x MF

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

McKinney Electric Hinge T4A3786 4 ½ x 4 ½ QC8

Corbin Russwin Exit ED5200A x L9905ET CT7D (Trim)			C

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C006P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

J	Door: ST2-2		29.0		3070  WD x MF

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

McKinney Electric Hinge T4A3786 4 ½ x 4 ½ QC8

Corbin Russwin Exit ED5200A x L9903ET M92 (Trim)			F

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C006P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

Access Control

North Oaks COB II 	9/6/2024

Third Floor Data Room 3008

1 each 	HID Controller X1100

7 each 	HID Door Controller X100A

2 each	Altronix Power Supply AL600ULXPD16

Access Control

North Oaks COB II 	9/6/2024

Third Floor:

A	Door:	3005		15.0		3670  WD x MF

3006		15.0		3670  WD x MF

3007		14.0		3070 WD x MF

3008		12.0		3070 WD x MF

3010		15.0		3670  WD x MF

3017		15.0		3670  WD x MF

3018		15.0		3670  WD x MF

3311		12.0		3070 WD x MF

8 each 	HID Readers 920PTNNEK00000

8 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

HES Electric Strikes 1006CLB)

McKinney Wiring Harness QC-C1500P					A

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

C	Door:	3000B		10.01		3670  WD x MF

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

Markar Continuous Hinge HG-305 7'0" EL-12
Corbin Russwin Exit ED5200A x L9905ET CT7D (Trim)			C

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C006P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

Access Control

North Oaks COB II 	9/6/2024

Third Floor:

J 	Door:	3016		32.0		3070  WD x MF

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

McKinney Electric Hinge T4A3786 4 ½ x 4 ½ QC8

Corbin Russwin Exit ED5200A x L9905ET CT7D (Trim)			F

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C006P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

A  	Door: 	3001A		11.0		3670 Storefront

3001B		11.0		3670 Storefront

2 each 	HID Readers 920PTNNEK00000

2 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

HES Electric Strikes 1006CLB)

McKinney Wiring Harness QC-C1500P					A

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

J  	Door: ST2-3		29.0		3070  WD x MF

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

McKinney Electric Hinge T4A3786 4 ½ x 4 ½ QC8

Corbin Russwin Exit ED5200A x L9903ET M92 (Trim)			F

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C006P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

Access Control

North Oaks COB II 	9/6/2024

Fourth Floor Data Room 4008

1 each 	HID Controller X1100

7 each 	HID Door Controller X100A

2 each	Altronix Power Supply AL600ULXPD16

Access Control

North Oaks COB II 	9/6/2024

Fourth Floor:

A	Door:	4005		15.0		3670  WD x MF

4006		15.0		3670  WD x MF

4007		14.0		3070 WD x MF

4008		12.0		3070 WD x MF

4010		15.0		3670  WD x MF

4018		15.0		3670  WD x MF

4019		15.0		3670  WD x MF

7 each 	HID Readers 920PTNNEK00000

7 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

HES Electric Strikes 1006CLB)

McKinney Wiring Harness QC-C1500P					A

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

C 	Door:	4000B		10.01		3670  WD x MF

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

Markar Continuous Hinge HG-305 7'0" EL-12
Corbin Russwin Exit ED5200A x L9905ET CT7D (Trim)			C

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C006P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

A  	Door: 	4001A		11.0		3670  Storefront

4001B		11.0		3670  Storefront

2 each 	HID Readers 920PTNNEK00000

2 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

HES Electric Strikes 1006CLB)

McKinney Wiring Harness QC-C1500P					A

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

Access Control

North Oaks COB II 	9/6/2024

Fourth Floor:

J  	Door:	4017		32.0		3070 WD x MF

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

McKinney Electric Hinge T4A3786 4 ½ x 4 ½ QC8

Corbin Russwin Exit ED5200A x L9905ET CT7D (Trim)			F

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C006P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

J  	Door: ST2-4		29.0		3070 WD x MF

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

McKinney Electric Hinge T4A3786 4 ½ x 4 ½ QC8

Corbin Russwin Exit ED5200A x L9903ET M92 (Trim)			F

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C006P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

H  	Elevator:	ELEV 2-4

1 each 	HID Readers 920PTNNEK00000

Access Control

North Oaks COB II 	9/6/2024

Fifth Floor Data Room 5013

1 each 	HID Controller X1100

8 each 	HID Door Controller X100A

3 each	Altronix Power Supply AL600ULXPD16

Access Control

North Oaks COB II 	9/6/2024

Fifth Floor:

F	Door:	5001A		8.0		3670 Storefront

5100		8.0		3670 Storefront

2 each 	HID Readers 920PTNNEK00000

2 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

Rixson Pivot EM19 8 Wire QC-8
Corbin Russwin Exit ED5200 CT7D K157M92 MERL W048 (ELR)		D

McKinney Wiring Harness QC-C1500P

`		McKinney Wiring Harness QC-C006P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

A  	Door:	5002A		12.0		3070 WD x MF

5006		15.0		3670  WD x MF

5013		18.1		3070 WD x MF

5105		15.0		3670  WD x MF

5116		13.0		3070 WD x MF

5117A		15.0		3670  WD x MF

5117B		12.0		3070 WD x MF

5210		12.0		3070 WD x MF

5300		12.0		3070 WD x MF

5305		12.0		3070 WD x MF

5304		12.0		3070 WD x MF

5306		12.0		3070 WD x MF

12 each 	HID Readers 920PTNNEK00000

12 each	Camden Motion Sensor CMRQE70A

Supplied and installed by others:

HES Electric Strikes 1006CLB)

McKinney Wiring Harness QC-C1500P					A

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

Access Control

North Oaks COB II 	9/6/2024

Fifth Floor:

C  	Door:	5001B			10.0		3070 WD x MF

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

Markar Continuous Hinge HG-305 7'0" EL-12
Corbin Russwin Exit ED5200A x L9905ET CT7D (Trim)			C

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C006P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1

J  	Door: ST2-5		29.0		3070 WD x MF

1 each 	HID Readers 920PTNNEK00000

1 each		Camden Motion Sensor CMRQE70A

Supplied and installed by others:

McKinney Electric Hinge T4A3786 4 ½ x 4 ½ QC8

Corbin Russwin Exit ED5200A x L9903ET M92 (Trim)			F

McKinney Wiring Harness QC-C1500P

McKinney Wiring Harness QC-C006P

Securitron Door Position Switch DPS-W-BK

Securitron Power Supply AQD1